## Cal Certificate
Calibration Certificate
[12 empty] | Certificate No.: |  |  |  | 25- Rev.00
|  | Customer : | [6 empty] | Location of Calibration :
|  |  | 0 | [6 empty] | SONJU ENGINEERING SERVICES
|  |  | 0 | [6 empty] | Electrical Calibration Area
|  | Manufacturer: |  |  | Fluke |  |  |  | Description: |  |  |  |  | Digital Multimeter
|  | Model No: |  |  | 117 |  |  |  | Options Installed: |  |  |  |  | none
|  | Serial No: |  |  | 0 |  |  |  | Customer Asset No: |  |  |  |  | none
|  | Calibration Date: |  |  | 0 |  |  |  | Work Order No.: |  |  |  |  | 0
|  | Received Date: |  |  | 0 |  |  |  | Customer P.O.: |  |  |  |  | none
|  | Temperature: |  |  | 23 °C ± 5 °C |  |  |  | Humidity: |  |  |  |  | 55 %rh ± 15 %rh
Cal Method / Procedure :
As per Manufacturer's recommended performance tests procedure for Fluke 117 Digital Multimeters Calibration Information, 1st - rev., September 2006.
This is to certify that the above Measuring and Test Equipment has been calibrated by SONJU Engineering Services in accordance with relevant calibration procedure defined for this instrument.
Uncertainty :
The expanded uncertainty of measurement for the results given in this certificate was estimated with a coverage factor of k = 2 at 95% level of confidence. The uncertainties of measurement were calculated using a budget worksheet based on JCGM 100:2008 Evaluation of measurement data - Guide to the Expression of Uncertainty in Measurement, 1st edition- 2008.
Traceability: The instrument was calibrated using reference standard/s traceable to SI Units as maintained by NML-ITDI (Philippines) through SONJU Engineering Services (Philippines).
Reference Standard Used:
|  |  | Description |  |  |  | Serial No. |  | Cal Report Ref. | [6 empty] | Due Date
|  |  | Multiproduct Calibrator |  |  |  | 8100021 |  | 24-9973-01ALT Rev.00 | [6 empty] | 0
Remarks:
1. The results were the average of the three (3) readings and were obtained during the time of calibration and refer only to the particular instrument submitted. Should the instrument be modified or damaged in any way, or develop inconsistent readings, the results may not be valid and the unit will require recalibration.
2. The user should determine the suitability of this instrument for its intended use.
3. Preliminary Inspection: Satisfactory
4. Nominal values marked with " * " are outside Scope of Accreditation.
5. A positve error is to subtracted to the UUT indication and negative error added to give true value.
|  | 6. As per customer request the next calibration due date is on: | [7 empty] | 1900-12-31
|  |  |  | 0 | [8 empty] | Jennefer S. Ilas
|  |  |  | Calibration Officer | [8 empty] | Approved Signatory
Issue Date :
Measurement Results:
Resistance Test
|  |  |  | Range |  | Nominal Value |  | Measured Value |  |  | Error |  |  |  | Uncertainty
|  |  |  | 600 Ω |  | 0 Ω |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0!
[6 empty] | 500 Ω |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0!
|  |  |  | 6 kΩ |  | 5 kΩ |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0!
|  |  |  | 60 kΩ |  | 50 kΩ |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0!
|  |  |  | 600 kΩ |  | 500 kΩ |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0!
|  |  |  | 6 MΩ |  | 5 MΩ |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0!
|  |  |  | 40 MΩ |  | 10 MΩ |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0!
[6 empty] | 30 MΩ |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0!
Continuity Test
|  |  |  | Range |  | Applied Value |  | UUT Response | [6 empty] | Remarks
[8 empty] | Expected |  |  | Actual
|  |  |  | 600 Ω |  | 25 Ω |  | Beep On |  |  | Beep On |  |  |  | PASS
[6 empty] | 250 Ω |  | Beep Off |  |  | Beep Off |  |  |  | PASS
AC Voltage Test
|  |  |  | Range |  | Nominal Value |  | Measured Value |  |  | Error |  |  |  | Uncertainty
|  |  |  | 6 V |  | 5 V / 45 Hz |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0!
[6 empty] | 5 V / 1 kHz |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0!
|  |  |  | 60 V |  | 50 V / 45 Hz |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0!
[6 empty] | 50 V / 1 kHz |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0!
|  |  |  | 600 V |  | 600 V / 45 Hz |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0!
[6 empty] | 600 V / 1 kHz |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0!
AC Voltage Frequency Test
|  |  |  | Range |  | Nominal Value |  | Measured Value |  |  | Error |  |  |  | Uncertainty
|  |  |  | 6 V |  | 50 kHz / 2 V |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0!
0
Calibration Officer
Measurement Results:
DC Voltage Test
|  |  |  | Range |  | Nominal Value |  | Measured Value |  |  | Error |  |  |  | Uncertainty
|  |  |  | 6 V |  | 0 V |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0!
[6 empty] | 5 V |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0!
|  |  |  | 60 V |  | 50 V |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0!
|  |  |  | 600 V |  | 600 V |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0!
[6 empty] | -600 V |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0!
AC milli Volt Test
|  |  |  | Range |  | Nominal Value |  | Measured Value |  |  | Error |  |  |  | Uncertainty
|  |  |  | 600 mV |  | 6 mV / 45 Hz |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0!
[6 empty] | 600 mV / 1 kHz |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0!
DC milli Volt Test
|  |  |  | Range |  | Nominal Value |  | Measured Value |  |  | Error |  |  |  | Uncertainty
|  |  |  | 600 mV |  | 10 mV |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0!
[6 empty] | 600 mV |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0!
Diode Test
|  |  |  | Range |  | Nominal Value |  | Measured Value |  |  | Error |  |  |  | Uncertainty
|  |  |  | 2 V |  | 1.9 V |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0!
Capacitance Test
|  |  |  | Range |  | Nominal Value |  | Measured Value |  |  | Error |  |  |  | Uncertainty
|  |  |  | 1 000 nF |  | Open * |  | #DIV/0! |  |  | #DIV/0! |  |  |  | -
|  |  |  | 9 999 µF |  | 900 µF * |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0!
LoZ Capacitance Test
|  |  |  | Range |  | Nominal Value |  | Measured Value |  |  | Error |  |  |  | Uncertainty
|  |  |  | 10 µF |  | 9 µF * |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0!
0
Calibration Officer
Measurement Results:
DC Current Test
|  |  |  | Range |  | Nominal Value |  | Measured Value |  |  | Error |  |  |  | Uncertainty
|  |  |  | 10 A |  | 10 A |  | #DIV/0! |  |  | #DIV/0! |  |  |  | #DIV/0!
AC Current Test
|  |  |  | Range |  | Nominal Value |  | Measured Value |  |  | Error |  |  |  | Uncertainty
|  |  |  | 6 A |  | 5 A / 45 Hz |  | 0.00 A |  |  | #DIV/0! |  |  |  | #DIV/0!
i
i
0
Calibration Officer
0
Calibration Officer
Block 1 Lot 49, Jubilation Commercial Strip,
Brgy. Zapote, Biñan City, Laguna 4024 Phils.
Contact Nos.: (049) 513-5233/591-0807;
(02) 782-2153; 09236581107
Email: admin@sonjuengineering.com
Website: www.sonjuengineering.com
This report shall not be reproduced except in full,
without the written approval from the laboratory
Block 1 Lot 49, Jubilation Commercial Strip,
Brgy. Zapote, Biñan City, Laguna 4024 Phils.
Contact Nos.: (049) 513-5233/591-0807;
(02) 782-2153; 09236581107
Email: admin@sonjuengineering.com
Website: www.sonjuengineering.com
This report shall not be reproduced except in full,
without the written approval from the laboratory
Block 1 Lot 49, Jubilation Commercial Strip,
Brgy. Zapote, Biñan City, Laguna 4024 Phils.
Contact Nos.: (049) 513-5233/591-0807;
(02) 782-2153; 09236581107
Email: admin@sonjuengineering.com
Website: www.sonjuengineering.com
This report shall not be reproduced except in full,
without the written approval from the laboratory
Block 1 Lot 49, Jubilation Commercial Strip,
Brgy. Zapote, Biñan City, Laguna 4024 Phils.
Contact Nos.: (049) 513-5233/591-0807;
(02) 782-2153; 09236581107
Email: admin@sonjuengineering.com
Website: www.sonjuengineering.com
This report shall not be reproduced except in full,
without the written approval from the laboratory
Block 1 Lot 49, Jubilation Commercial Strip,
Brgy. Zapote, Biñan City, Laguna 4024 Phils.
Contact Nos.: (049) 513-5233/591-0807;
(02) 782-2153; 09236581107
Email: admin@sonjuengineering.com
Website: www.sonjuengineering.com
This report shall not be reproduced except in full,
without the written approval from the laboratory

## DataSheet
CALIBRATION DATASHEET
| Work Order No.: | [18 empty] | Technical ID:
Unit Under Calibration
Description |  |  |  | : | Digital Multimeter | [9 empty] | Received Date | [5 empty] | :
Manufacturer |  |  |  | : | Fluke | [9 empty] | Calibration Date | [5 empty] | :
Model |  |  |  | : | 117 | [9 empty] | Options Installed | [5 empty] | : | none
Serial Number |  |  |  | : | [10 empty] | Customer P.O. | [5 empty] | : | none
Range |  |  |  | : | See specification sheet | [9 empty] | Asset Number | [5 empty] | : | none
Res/Readability |  |  |  | : | See specification sheet | [9 empty] | Accuracy | [5 empty] | : | See specification sheet
Prev. SES Cal Cert: |  |  |  | : | none | [9 empty] | Previous Technician | [5 empty] | : | none
Customer Details | [14 empty] | Calibration Location
Company |  | : | [14 empty] | X | In-House (SONJU Laboratory)
Address |  | : | [15 empty] | On-Site Calibration (Please Specify)
Electrical Calibration Area
Reference Standard/s Used
Description | [8 empty] | Serial No. | [5 empty] | Cal Report Ref. | [8 empty] | Due Date
Multiproduct Calibrator | [8 empty] | 8100021 | [5 empty] | 24-9973-01ALT Rev.00
Accessory Used
Description | [8 empty] | Serial No. | [5 empty] | Brand | [8 empty] | Model
none | [8 empty] | none | [5 empty] | none | [8 empty] | none
Environmental Condition | [14 empty] | Calibration Method
| Temperature | [5 empty] | Relative Humidity | [7 empty] | As per Manufacturer's recommended performance tests procedure for Fluke 117 Digital Multimeters Calibration Information, 1st - rev., September 2006.
|  |  | Start: |  | oC |  |  |  | Start: |  | %rh
|  |  | End: |  | oC |  |  |  | End: |  | %rh
Observations
Adjustment
Needed?
YES
[27 empty] | x | NO
Measurement Results
| Resistance Test | [31 empty] | Standard | [11 empty] | Drift | [11 empty] | Resolution | [12 empty] | Repeatability | [13 empty] | Expanded Uncertainty | [6 empty] | MINIMUM CMC |  | FINAL UNCERTAINTY DECLARATION
| Range |  |  |  |  | Nominal Value |  |  |  | Measured Value | [8 empty] | Average |  |  |  | Error | [5 empty] | Tolerance | Upper Limit | Lower Limit | Remarks | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Resolution | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | No. of trial | Std. Dev | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Sum of | Sum of | COMBINED STANDARD | EFFECTIVE DEGREES | C. FACTOR, k = student's | EXPANDED UNCERTAINTY,
[10 empty] | 1 |  |  | 2 |  |  | 3 | [19 empty] | (±) | [11 empty] | (±) | [12 empty] | (±) | [13 empty] | (±) | [8 empty] | (UiCi)^2 | (UiCi)^4 | UNCERTAINTY, Uc | OF FREEDOM, Veff | t for Veff and 95 % C.L. | U @ 95 % C.L. ±
| 600 Ω |  |  |  |  | 0 |  | Ω | [10 empty] | #DIV/0! |  |  |  | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | COC | Normal | B | 7.7e-05 | Ω | 2 | 3.85e-05 | 1 | 3.85e-05 | 1.4823e-09 | 200 | 1.0985e-20 | Annual Drift | Rectangular | B | 0 | Ω | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 0.1 | Readability | Rectangular | B | 0.05 | Ω | 1.7321 | 0.028868 | 1 | 0.028868 | 0.00083333 | 200 | 3.4722e-09 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | Ω | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Ω | 0.0078 | Ω | #DIV/0! | Ω
| 600 Ω |  |  |  |  | 500 |  | Ω | [10 empty] | #DIV/0! |  |  |  | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | COC | Normal | B | 0.003 | Ω | 2 | 0.0015 | 1 | 0.0015 | 2.25e-06 | 200 | 2.5313e-14 | Annual Drift | Rectangular | B | 0 | Ω | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 0.1 | Readability | Rectangular | B | 0.05 | Ω | 1.7321 | 0.028868 | 1 | 0.028868 | 0.00083333 | 200 | 3.4722e-09 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | Ω | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Ω | 0.023 | Ω | #DIV/0! | Ω
| 6 kΩ |  |  |  |  | 5 |  | kΩ | [10 empty] | #DIV/0! |  |  |  | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | COC | Normal | B | 5.5e-05 | kΩ | 2 | 2.75e-05 | 1 | 2.75e-05 | 7.5625e-10 | 200 | 2.8596e-21 | Annual Drift | Rectangular | B | 0 | kΩ | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 0.001 | Readability | Rectangular | B | 0.0005 | kΩ | 1.7321 | 0.00028868 | 1 | 0.00028868 | 8.3333e-08 | 200 | 3.4722e-17 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | kΩ | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | kΩ | 0.00023 | kΩ | #DIV/0! | kΩ
| 60 kΩ |  |  |  |  | 50 |  | kΩ | [10 empty] | #DIV/0! |  |  |  | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | COC | Normal | B | 0.00081 | kΩ | 2 | 0.000405 | 1 | 0.000405 | 1.6402e-07 | 200 | 1.3452e-16 | Annual Drift | Rectangular | B | 0 | kΩ | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 0.01 | Readability | Rectangular | B | 0.005 | kΩ | 1.7321 | 0.0028868 | 1 | 0.0028868 | 8.3333e-06 | 200 | 3.4722e-13 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | kΩ | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | kΩ | 0.0015 | kΩ | #DIV/0! | kΩ
| 600 kΩ |  |  |  |  | 500 |  | kΩ | [10 empty] | #DIV/0! |  |  |  | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | COC | Normal | B | 0.0066 | kΩ | 2 | 0.0033 | 1 | 0.0033 | 1.089e-05 | 200 | 5.9296e-13 | Annual Drift | Rectangular | B | 0 | kΩ | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 0.1 | Readability | Rectangular | B | 0.05 | kΩ | 1.7321 | 0.028868 | 1 | 0.028868 | 0.00083333 | 200 | 3.4722e-09 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | kΩ | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | kΩ | 0.016 | kΩ | #DIV/0! | kΩ
| 6 MΩ |  |  |  |  | 5 |  | MΩ | [10 empty] | #DIV/0! |  |  |  | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | COC | Normal | B | 0.00048 | MΩ | 2 | 0.00024 | 1 | 0.00024 | 5.76e-08 | 200 | 1.6589e-17 | Annual Drift | Rectangular | B | 0 | MΩ | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 0.001 | Readability | Rectangular | B | 0.0005 | MΩ | 1.7321 | 0.00028868 | 1 | 0.00028868 | 8.3333e-08 | 200 | 3.4722e-17 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | MΩ | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | MΩ | 0.00053 | MΩ | #DIV/0! | MΩ
| 40 MΩ |  |  |  |  | 10 |  | MΩ | [10 empty] | #DIV/0! |  |  |  | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | COC | Normal | B | 0.00048 | MΩ | 2 | 0.00024 | 1 | 0.00024 | 5.76e-08 | 200 | 1.6589e-17 | Annual Drift | Rectangular | B | 0 | MΩ | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 0.01 | Readability | Rectangular | B | 0.005 | MΩ | 1.7321 | 0.0028868 | 1 | 0.0028868 | 8.3333e-06 | 200 | 3.4722e-13 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | MΩ | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | MΩ | 0.00053 | MΩ | #DIV/0! | MΩ
| 40 MΩ |  |  |  |  | 30 |  | MΩ | [10 empty] | #DIV/0! |  |  |  | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | COC | Normal | B | 0.0014 | MΩ | 2 | 0.0007 | 1 | 0.0007 | 4.9e-07 | 200 | 1.2005e-15 | Annual Drift | Rectangular | B | 0 | MΩ | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 0.01 | Readability | Rectangular | B | 0.005 | MΩ | 1.7321 | 0.0028868 | 1 | 0.0028868 | 8.3333e-06 | 200 | 3.4722e-13 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | MΩ | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | MΩ | 0.0041 | MΩ | #DIV/0! | MΩ
Continuity Test
| Range |  |  |  |  | Applied Value |  |  |  | UUT Response | [9 empty] | Remarks | [8 empty] | Tolerance
[10 empty] | Expected |  |  |  | Actual
| 600 Ω |  |  |  |  | 25 |  | Ω |  | Beep On |  |  |  | Beep On | [5 empty] | PASS | [8 empty] | Beeper On
| 600 Ω |  |  |  |  | 250 |  | Ω |  | Beep Off |  |  |  | Beep Off | [5 empty] | PASS | [8 empty] | Beeper Off
| AC Voltage Test | [31 empty] | Standard | [23 empty] | Resolution | [12 empty] | Repeatability | [13 empty] | Expanded Uncertainty | [6 empty] | MINIMUM CMC |  | FINAL UNCERTAINTY DECLARATION
| Range |  |  |  |  | Nominal Value |  |  |  | Frequency |  |  | Measured Value | [9 empty] | Average |  | Error |  |  |  | Tolerance | Upper Limit | Lower Limit | Remarks | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Resolution | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | No. of trial | Std. Dev | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Sum of | Sum of | COMBINED STANDARD | EFFECTIVE DEGREES | C. FACTOR, k = student's | EXPANDED UNCERTAINTY,
[13 empty] | 1 |  |  | 2 |  |  | 3 | [16 empty] | (±) | [11 empty] | (±) | [12 empty] | (±) | [13 empty] | (±) | [8 empty] | (UiCi)^2 | (UiCi)^4 | UNCERTAINTY, Uc | OF FREEDOM, Veff | t for Veff and 95 % C.L. | U @ 95 % C.L. ±
| 6 V |  |  |  |  | 5 |  | V |  | 45 Hz | [12 empty] | #DIV/0! |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | COC | Normal | B | 0.0093 | V | 2 | 0.00465 | 1 | 0.00465 | 2.1622e-05 | 200 | 2.3377e-12 | Annual Drift | Rectangular | B | 0 | V | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 0.001 | Readability | Rectangular | B | 0.0005 | V | 1.7321 | 0.00028868 | 1 | 0.00028868 | 8.3333e-08 | 200 | 3.4722e-17 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | V | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | V | 0.00085 | V | #DIV/0! | V
| 6 V |  |  |  |  | 5 |  | V |  | 1 kHz | [12 empty] | #DIV/0! |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | COC | Normal | B | 0.0073 | V | 2 | 0.00365 | 1 | 0.00365 | 1.3322e-05 | 200 | 8.8745e-13 | Annual Drift | Rectangular | B | 0 | V | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 0.001 | Readability | Rectangular | B | 0.0005 | V | 1.7321 | 0.00028868 | 1 | 0.00028868 | 8.3333e-08 | 200 | 3.4722e-17 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | V | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | V | 0.00085 | V | #DIV/0! | V
| 60 V |  |  |  |  | 50 |  | V |  | 45 Hz | [12 empty] | #DIV/0! |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | COC | Normal | B | 0.091 | V | 2 | 0.0455 | 1 | 0.0455 | 0.0020703 | 200 | 2.143e-08 | Annual Drift | Rectangular | B | 0 | V | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 0.01 | Readability | Rectangular | B | 0.005 | V | 1.7321 | 0.0028868 | 1 | 0.0028868 | 8.3333e-06 | 200 | 3.4722e-13 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | V | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | V | 0.0064 | V | #DIV/0! | V
| 60 V |  |  |  |  | 50 |  | V |  | 1 kHz | [12 empty] | #DIV/0! |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | COC | Normal | B | 0.071 | V | 2 | 0.0355 | 1 | 0.0355 | 0.0012602 | 200 | 7.9412e-09 | Annual Drift | Rectangular | B | 0 | V | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 0.01 | Readability | Rectangular | B | 0.005 | V | 1.7321 | 0.0028868 | 1 | 0.0028868 | 8.3333e-06 | 200 | 3.4722e-13 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | V | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | V | 0.0064 | V | #DIV/0! | V
| 600 V |  |  |  |  | 600 |  | V |  | 45 Hz | [12 empty] | #DIV/0! |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | COC | Normal | B | 0.091 | V | 2 | 0.0455 | 1 | 0.0455 | 0.0020703 | 200 | 2.143e-08 | Annual Drift | Rectangular | B | 0 | V | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 0.1 | Readability | Rectangular | B | 0.05 | V | 1.7321 | 0.028868 | 1 | 0.028868 | 0.00083333 | 200 | 3.4722e-09 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | V | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | V | 0.084 | V | #DIV/0! | V
| 600 V |  |  |  |  | 600 |  | V |  | 1 kHz | [12 empty] | #DIV/0! |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | COC | Normal | B | 0.071 | V | 2 | 0.0355 | 1 | 0.0355 | 0.0012602 | 200 | 7.9412e-09 | Annual Drift | Rectangular | B | 0 | V | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 0.1 | Readability | Rectangular | B | 0.05 | V | 1.7321 | 0.028868 | 1 | 0.028868 | 0.00083333 | 200 | 3.4722e-09 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | V | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | V | 0.084 | V | #DIV/0! | V
| AC Voltage Frequency Test | [31 empty] | Standard | [23 empty] | Resolution | [12 empty] | Repeatability | [13 empty] | Expanded Uncertainty | [6 empty] | MINIMUM CMC |  | FINAL UNCERTAINTY DECLARATION
| Range |  |  |  |  | Nominal Value |  |  |  | Voltage |  |  | Measured Value | [9 empty] | Average |  | Error |  |  |  | Tolerance | Upper Limit | Lower Limit | Remarks | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Resolution | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | No. of trial | Std. Dev | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Sum of | Sum of | COMBINED STANDARD | EFFECTIVE DEGREES | C. FACTOR, k = student's | EXPANDED UNCERTAINTY,
[13 empty] | 1 |  |  | 2 |  |  | 3 | [16 empty] | (±) | [11 empty] | (±) | [12 empty] | (±) | [13 empty] | (±) | [8 empty] | (UiCi)^2 | (UiCi)^4 | UNCERTAINTY, Uc | OF FREEDOM, Veff | t for Veff and 95 % C.L. | U @ 95 % C.L. ±
| 6 V |  |  |  |  | 50 |  | kHz |  | 2 V | [12 empty] | #DIV/0! |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | COC | Normal | B | 5.8e-05 | kHz | 2 | 2.9e-05 | 1 | 2.9e-05 | 8.41e-10 | 200 | 3.5364e-21 | Annual Drift | Rectangular | B | 0 | kHz | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 0.01 | Readability | Rectangular | B | 0.005 | kHz | 1.7321 | 0.0028868 | 1 | 0.0028868 | 8.3333e-06 | 200 | 3.4722e-13 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | kHz | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | kHz |  | kHz | #DIV/0! | kHz
| DC Voltage Test | [31 empty] | Standard | [23 empty] | Resolution | [12 empty] | Repeatability | [13 empty] | Expanded Uncertainty | [6 empty] | MINIMUM CMC |  | FINAL UNCERTAINTY DECLARATION
| Range |  |  |  |  | Nominal Value |  |  |  | Measured Value | [8 empty] | Average |  |  |  | Error | [5 empty] | Tolerance | Upper Limit | Lower Limit | Remarks | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Resolution | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | No. of trial | Std. Dev | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Sum of | Sum of | COMBINED STANDARD | EFFECTIVE DEGREES | C. FACTOR, k = student's | EXPANDED UNCERTAINTY,
[10 empty] | 1 |  |  | 2 |  |  | 3 | [19 empty] | (±) | [11 empty] | (±) | [12 empty] | (±) | [13 empty] | (±) | [8 empty] | (UiCi)^2 | (UiCi)^4 | UNCERTAINTY, Uc | OF FREEDOM, Veff | t for Veff and 95 % C.L. | U @ 95 % C.L. ±
| 6 V |  |  |  |  | 0 |  | V | [10 empty] | #DIV/0! |  |  |  | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | COC | Normal | B | 8.3e-06 | V | 2 | 4.15e-06 | 1 | 4.15e-06 | 1.7223e-11 | 200 | 1.4831e-24 | Annual Drift | Rectangular | B | 0 | V | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 0.001 | Readability | Rectangular | B | 0.0005 | V | 1.7321 | 0.00028868 | 1 | 0.00028868 | 8.3333e-08 | 200 | 3.4722e-17 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | V | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | V | 1.8e-06 | V | #DIV/0! | V
| 6 V |  |  |  |  | 5 |  | V | [10 empty] | #DIV/0! |  |  |  | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | COC | Normal | B | 1.8e-05 | V | 2 | 9e-06 | 1 | 9e-06 | 8.1e-11 | 200 | 3.2805e-23 | Annual Drift | Rectangular | B | 0 | V | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 0.001 | Readability | Rectangular | B | 0.0005 | V | 1.7321 | 0.00028868 | 1 | 0.00028868 | 8.3333e-08 | 200 | 3.4722e-17 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | V | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | V | 1e-05 | V | #DIV/0! | V
| 60 V |  |  |  |  | 50 |  | V | [10 empty] | #DIV/0! |  |  |  | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | COC | Normal | B | 0.00016 | V | 2 | 8e-05 | 1 | 8e-05 | 6.4e-09 | 200 | 2.048e-19 | Annual Drift | Rectangular | B | 0 | V | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 0.01 | Readability | Rectangular | B | 0.005 | V | 1.7321 | 0.0028868 | 1 | 0.0028868 | 8.3333e-06 | 200 | 3.4722e-13 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | V | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | V | 0.00018 | V | #DIV/0! | V
| 600 V |  |  |  |  | 600 |  | V | [10 empty] | #DIV/0! |  |  |  | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | COC | Normal | B | 0.0033 | V | 2 | 0.00165 | 1 | 0.00165 | 2.7225e-06 | 200 | 3.706e-14 | Annual Drift | Rectangular | B | 0 | V | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 0.1 | Readability | Rectangular | B | 0.05 | V | 1.7321 | 0.028868 | 1 | 0.028868 | 0.00083333 | 200 | 3.4722e-09 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | V | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | V | 0.0014 | V | #DIV/0! | V
| 600 V |  |  |  |  | -600 |  | V | [10 empty] | #DIV/0! |  |  |  | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | COC | Normal | B | 0.0033 | V | 2 | 0.00165 | 1 | 0.00165 | 2.7225e-06 | 200 | 3.706e-14 | Annual Drift | Rectangular | B | 0 | V | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 0.1 | Readability | Rectangular | B | 0.05 | V | 1.7321 | 0.028868 | 1 | 0.028868 | 0.00083333 | 200 | 3.4722e-09 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | V | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | V | 0.0014 | V | #DIV/0! | V
| AC milli Volt Test | [31 empty] | Standard | [23 empty] | Resolution | [12 empty] | Repeatability | [13 empty] | Expanded Uncertainty | [6 empty] | MINIMUM CMC |  | FINAL UNCERTAINTY DECLARATION
| Range |  |  |  |  | Nominal Value |  |  |  | Frequency |  |  | Measured Value | [9 empty] | Average |  | Error |  |  |  | Tolerance | Upper Limit | Lower Limit | Remarks | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Resolution | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | No. of trial | Std. Dev | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Sum of | Sum of | COMBINED STANDARD | EFFECTIVE DEGREES | C. FACTOR, k = student's | EXPANDED UNCERTAINTY,
[13 empty] | 1 |  |  | 2 |  |  | 3 | [16 empty] | (±) | [11 empty] | (±) | [12 empty] | (±) | [13 empty] | (±) | [8 empty] | (UiCi)^2 | (UiCi)^4 | UNCERTAINTY, Uc | OF FREEDOM, Veff | t for Veff and 95 % C.L. | U @ 95 % C.L. ±
| 600 mV |  |  |  |  | 6 |  | mV |  | 45 Hz | [12 empty] | #DIV/0! |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | COC | Normal | B | 0.0098 | mV | 2 | 0.0049 | 1 | 0.0049 | 2.401e-05 | 200 | 2.8824e-12 | Annual Drift | Rectangular | B | 0 | mV | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 0.1 | Readability | Rectangular | B | 0.05 | mV | 1.7321 | 0.028868 | 1 | 0.028868 | 0.00083333 | 200 | 3.4722e-09 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | mV | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | mV | 0.0048 | mV | #DIV/0! | mV
| 600 mV |  |  |  |  | 600 |  | mV |  | 1 kHz | [12 empty] | #DIV/0! |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | COC | Normal | B | 0.91 | mV | 2 | 0.455 | 1 | 0.455 | 0.20703 | 200 | 0.0002143 | Annual Drift | Rectangular | B | 0 | mV | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 0.1 | Readability | Rectangular | B | 0.05 | mV | 1.7321 | 0.028868 | 1 | 0.028868 | 0.00083333 | 200 | 3.4722e-09 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | mV | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | mV | 0.085 | mV | #DIV/0! | mV
| DC milli Volt Test | [31 empty] | Standard | [23 empty] | Resolution | [12 empty] | Repeatability | [13 empty] | Expanded Uncertainty | [6 empty] | MINIMUM CMC |  | FINAL UNCERTAINTY DECLARATION
| Range |  |  |  |  | Nominal Value |  |  |  | Measured Value | [8 empty] | Average |  |  |  | Error | [5 empty] | Tolerance | Upper Limit | Lower Limit | Remarks | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Resolution | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | No. of trial | Std. Dev | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Sum of | Sum of | COMBINED STANDARD | EFFECTIVE DEGREES | C. FACTOR, k = student's | EXPANDED UNCERTAINTY,
[10 empty] | 1 |  |  | 2 |  |  | 3 | [19 empty] | (±) | [11 empty] | (±) | [12 empty] | (±) | [13 empty] | (±) | [8 empty] | (UiCi)^2 | (UiCi)^4 | UNCERTAINTY, Uc | OF FREEDOM, Veff | t for Veff and 95 % C.L. | U @ 95 % C.L. ±
| 600 mV |  |  |  |  | 10 |  | mV | [10 empty] | #DIV/0! |  |  |  | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | COC | Normal | B | 0.00077 | mV | 2 | 0.000385 | 1 | 0.000385 | 1.4822e-07 | 200 | 1.0985e-16 | Annual Drift | Rectangular | B | 0 | mV | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 0.1 | Readability | Rectangular | B | 0.05 | mV | 1.7321 | 0.028868 | 1 | 0.028868 | 0.00083333 | 200 | 3.4722e-09 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | mV | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | mV | 0.0016 | mV | #DIV/0! | mV
| 600 mV |  |  |  |  | 600 |  | mV | [10 empty] | #DIV/0! |  |  |  | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | COC | Normal | B | 0.0021 | mV | 2 | 0.00105 | 1 | 0.00105 | 1.1025e-06 | 200 | 6.0775e-15 | Annual Drift | Rectangular | B | 0 | mV | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 0.1 | Readability | Rectangular | B | 0.05 | mV | 1.7321 | 0.028868 | 1 | 0.028868 | 0.00083333 | 200 | 3.4722e-09 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | mV | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | mV | 0.0018 | mV | #DIV/0! | mV
| Diode Test | [31 empty] | Standard | [23 empty] | Resolution | [12 empty] | Repeatability | [13 empty] | Expanded Uncertainty | [6 empty] | MINIMUM CMC |  | FINAL UNCERTAINTY DECLARATION
| Range |  |  |  |  | Nominal Value |  |  |  | Measured Value | [8 empty] | Average |  |  |  | Error | [5 empty] | Tolerance | Upper Limit | Lower Limit | Remarks | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Resolution | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | No. of trial | Std. Dev | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Sum of | Sum of | COMBINED STANDARD | EFFECTIVE DEGREES | C. FACTOR, k = student's | EXPANDED UNCERTAINTY,
[10 empty] | 1 |  |  | 2 |  |  | 3 | [19 empty] | (±) | [11 empty] | (±) | [12 empty] | (±) | [13 empty] | (±) | [8 empty] | (UiCi)^2 | (UiCi)^4 | UNCERTAINTY, Uc | OF FREEDOM, Veff | t for Veff and 95 % C.L. | U @ 95 % C.L. ±
| 2 V |  |  |  |  | 1.9 |  | V | [10 empty] | #DIV/0! |  |  |  | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | COC | Normal | B | 8.3e-06 | V | 2 | 4.15e-06 | 1 | 4.15e-06 | 1.7223e-11 | 200 | 1.4831e-24 | Annual Drift | Rectangular | B | 0 | V | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 0.001 | Readability | Rectangular | B | 0.0005 | V | 1.7321 | 0.00028868 | 1 | 0.00028868 | 8.3333e-08 | 200 | 3.4722e-17 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | V | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | V | 1.8e-06 | V | #DIV/0! | V
| Capacitance Test | [31 empty] | Standard | [23 empty] | Resolution | [12 empty] | Repeatability | [13 empty] | Expanded Uncertainty | [6 empty] | MINIMUM CMC |  | FINAL UNCERTAINTY DECLARATION
| Range |  |  |  |  | Nominal Value |  |  |  | Measured Value | [8 empty] | Average |  |  |  | Error | [5 empty] | Tolerance | Upper Limit | Lower Limit | Remarks | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Resolution | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | No. of trial | Std. Dev | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Sum of | Sum of | COMBINED STANDARD | EFFECTIVE DEGREES | C. FACTOR, k = student's | EXPANDED UNCERTAINTY,
[10 empty] | 1 |  |  | 2 |  |  | 3 | [19 empty] | (±) | [11 empty] | (±) | [12 empty] | (±) | [13 empty] | (±) | [8 empty] | (UiCi)^2 | (UiCi)^4 | UNCERTAINTY, Uc | OF FREEDOM, Veff | t for Veff and 95 % C.L. | U @ 95 % C.L. ±
| 1 000 nF |  |  |  |  | Open |  | nF | [10 empty] | #DIV/0! |  |  |  | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Specification | Normal | B |  | nF | 2.58 | 0 | 1 | 0 | 0 | 200 | 0 | Annual Drift | Rectangular | B | 0 | nF | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 1 | Readability | Rectangular | B | 0.5 | nF | 1.7321 | 0.28868 | 1 | 0.28868 | 0.083333 | 200 | 3.4722e-05 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | nF | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | - | nF |  | nF | 0 | nF
| 9 999 µF |  |  |  |  | 900 |  | µF | [10 empty] | #DIV/0! |  |  |  | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Specification | Normal | B | 7.3 | µF | 2.58 | 2.8295 | 1 | 2.8295 | 8.0058 | 200 | 0.32047 | Annual Drift | Rectangular | B | 0 | µF | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 1 | Readability | Rectangular | B | 0.5 | µF | 1.7321 | 0.28868 | 1 | 0.28868 | 0.083333 | 200 | 3.4722e-05 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | µF | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | µF |  | µF | #DIV/0! | µF
| LoZ Capacitance Test | [31 empty] | Standard | [23 empty] | Resolution | [12 empty] | Repeatability | [13 empty] | Expanded Uncertainty | [6 empty] | MINIMUM CMC |  | FINAL UNCERTAINTY DECLARATION
| Range |  |  |  |  | Nominal Value |  |  |  | Measured Value | [8 empty] | Average |  |  |  | Error | [5 empty] | Tolerance | Upper Limit | Lower Limit | Remarks | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Resolution | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | No. of trial | Std. Dev | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Sum of | Sum of | COMBINED STANDARD | EFFECTIVE DEGREES | C. FACTOR, k = student's | EXPANDED UNCERTAINTY,
[10 empty] | 1 |  |  | 2 |  |  | 3 | [19 empty] | (±) | [11 empty] | (±) | [12 empty] | (±) | [13 empty] | (±) | [8 empty] | (UiCi)^2 | (UiCi)^4 | UNCERTAINTY, Uc | OF FREEDOM, Veff | t for Veff and 95 % C.L. | U @ 95 % C.L. ±
| 10 µF |  |  |  |  | 9 |  | µF | [10 empty] | #DIV/0! |  |  |  | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Specification | Normal | B | 0.0325 | µF | 2.58 | 0.012597 | 1 | 0.012597 | 0.00015868 | 200 | 1.259e-10 | Annual Drift | Rectangular | B | 0 | µF | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 0.01 | Readability | Rectangular | B | 0.005 | µF | 1.7321 | 0.0028868 | 1 | 0.0028868 | 8.3333e-06 | 200 | 3.4722e-13 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | µF | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | µF |  | µF | #DIV/0! | µF
| DC Current Test | [31 empty] | Standard | [23 empty] | Resolution | [12 empty] | Repeatability | [13 empty] | Expanded Uncertainty | [6 empty] | MINIMUM CMC |  | FINAL UNCERTAINTY DECLARATION
| Range |  |  |  |  | Nominal Value |  |  |  | Measured Value | [8 empty] | Average |  |  |  | Error | [5 empty] | Tolerance | Upper Limit | Lower Limit | Remarks | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Resolution | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | No. of trial | Std. Dev | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Sum of | Sum of | COMBINED STANDARD | EFFECTIVE DEGREES | C. FACTOR, k = student's | EXPANDED UNCERTAINTY,
[10 empty] | 1 |  |  | 2 |  |  | 3 | [19 empty] | (±) | [11 empty] | (±) | [12 empty] | (±) | [13 empty] | (±) | [8 empty] | (UiCi)^2 | (UiCi)^4 | UNCERTAINTY, Uc | OF FREEDOM, Veff | t for Veff and 95 % C.L. | U @ 95 % C.L. ±
| 10 A |  |  |  |  | 10 |  | A | [10 empty] | #DIV/0! |  |  |  | #DIV/0! | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | COC | Normal | B | 0.0014 | A | 2 | 0.0007 | 1 | 0.0007 | 4.9e-07 | 200 | 1.2005e-15 | Annual Drift | Rectangular | B | 0 | A | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 0.01 | Readability | Rectangular | B | 0.005 | A | 1.7321 | 0.0028868 | 1 | 0.0028868 | 8.3333e-06 | 200 | 3.4722e-13 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | A | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | A | 0.0016 | A | #DIV/0! | A
| AC Current Test | [31 empty] | Standard | [23 empty] | Resolution | [12 empty] | Repeatability | [13 empty] | Expanded Uncertainty | [6 empty] | MINIMUM CMC |  | FINAL UNCERTAINTY DECLARATION
| Range |  |  |  |  | Nominal Value |  |  |  | Frequency |  |  | Measured Value | [9 empty] | Average |  | Error |  |  |  | Tolerance | Upper Limit | Lower Limit | Remarks | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Resolution | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | No. of trial | Std. Dev | Source | Distribution | Type | or | Unit | Divisor | Ui | Ci | UiCi | (UiCi)^2 | Vi | (UiCi)^4 / Vi | Sum of | Sum of | COMBINED STANDARD | EFFECTIVE DEGREES | C. FACTOR, k = student's | EXPANDED UNCERTAINTY,
[13 empty] | 1 |  |  | 2 |  |  | 3 | [16 empty] | (±) | [11 empty] | (±) | [12 empty] | (±) | [13 empty] | (±) | [8 empty] | (UiCi)^2 | (UiCi)^4 | UNCERTAINTY, Uc | OF FREEDOM, Veff | t for Veff and 95 % C.L. | U @ 95 % C.L. ±
| 6 A |  |  |  |  | 5 |  | A |  | 45 Hz | [12 empty] | #DIV/0! |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | COC | Normal | B | 0.01 | A | 2 | 0.005 | 1 | 0.005 | 2.5e-05 | 200 | 3.125e-12 | Annual Drift | Rectangular | B | 0 | A | 1.7321 | 0 | 1 | 0 | 0 | 200 | 0 | 0.001 | Readability | Rectangular | B | 0.0005 | A | 1.7321 | 0.00028868 | 1 | 0.00028868 | 8.3333e-08 | 200 | 3.4722e-17 | 3 | #DIV/0! | Std. Dev of Reading | Normal | A | #DIV/0! | A | 1.7321 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | A | 0.0029 | A | #DIV/0! | A
Calibrated By
0
Calibration Officer's Name | [11 empty] | Signature | [8 empty] | Date
Checked By
Interim Manager (Electrical) | [11 empty] | Signature | [8 empty] | Date
Encoded By
- | [20 empty] | -
Calibration Officer's Name | [11 empty] | Signature | [8 empty] | Date

## Specification
https://www.instrumart.com/assets/fluke115_116_117_manual.pdf