## DCV
Function | RangeLabel | Nominal | Unit | Frequency | FreqUnit | MV1 | MV2 | MV3 | Average | Error | Spec_Accuracy (%) | Spec_Digit | Tolerance | UpperLimit | LowerLimit | Remarks | U_CoC | Div_CoC | Ui_CoC | U_Annual | Div_Annual | Ui_Annual | U_Read | Div_Read | Ui_Read | U_Repeat | Div_Repeat | Ui_Repeat | Combined | Effective degrees of freedom (v_eff) | k | U_expanded | CMC_min | Final_U
| 600 mV | 60 | mV | - | [6 empty] | 0.1 | 1 |  |  |  |  | 0.00077 | 2 | 0.000385 | 0 | 1.7321 | 0 | 0.1 | 3.4641 | 0.028868 |  | 1.7321 |  | 0.02887 |  |  |  | 0.0016 | 0
| 600 mV | 540 | mV | - | [6 empty] | 0.1 | 1 |  |  |  |  | 0.0021 | 2 | 0.00105 | 0 | 1.7321 | 0 | 0.1 | 3.4641 | 0.028868 |  | 1.7321 |  | 0.028887 |  |  |  | 0.0018 | 0
| 600 mV | -540 | mV | - | [6 empty] | 0.1 | 1 |  |  |  |  | 0.0021 | 2 | 0.00105 | 0 | 1.7321 | 0 | 0.1 | 3.4641 | 0.028868 |  | 1.7321 |  | 0.028887 |  |  |  | 0.0018 | 0
| 6 V | 0.6 | V | - | [6 empty] | 0.1 | 1 |  |  |  |  | 2.1e-06 | 2 | 1.05e-06 | 0 | 1.7321 | 0 | 0.001 | 3.4641 | 0.00028868 |  | 1.7321 |  | 0.00028868 |  |  |  | 1.8e-06 | 0
| 6 V | 5.4 | V | - | [6 empty] | 0.1 | 1 |  |  |  |  | 1.8e-05 | 2 | 9e-06 | 0 | 1.7321 | 0 | 0.001 | 3.4641 | 0.00028868 |  | 1.7321 |  | 0.00028882 |  |  |  | 1e-05 | 0
| 6 V | -5.4 | V | - | [6 empty] | 0.1 | 1 |  |  |  |  | 1.8e-05 | 2 | 9e-06 | 0 | 1.7321 | 0 | 0.001 | 3.4641 | 0.00028868 |  | 1.7321 |  | 0.00028882 |  |  |  | 1e-05 | 0
| 60 V | 6 | V | - | [6 empty] | 0.1 | 1 |  |  |  |  | 1.8e-05 | 2 | 9e-06 | 0 | 1.7321 | 0 | 0.01 | 3.4641 | 0.0028868 |  | 1.7321 |  | 0.0028868 |  |  |  | 1e-05 | 0
| 60 V | 30 | V | - | [6 empty] | 0.1 | 1 |  |  |  |  | 0.0001 | 2 | 5e-05 | 0 | 1.7321 | 0 | 0.01 | 3.4641 | 0.0028868 |  | 1.7321 |  | 0.0028872 |  |  |  | 1e-05 | 0
| 60 V | 54 | V | - | [6 empty] | 0.1 | 1 |  |  |  |  | 0.00031 | 2 | 0.000155 | 0 | 1.7321 | 0 | 0.01 | 3.4641 | 0.0028868 |  | 1.7321 |  | 0.0028909 |  |  |  | 0.00018 | 0
| 60 V | -6 | V | - | [6 empty] | 0.1 | 1 |  |  |  |  | 1.8e-05 | 2 | 9e-06 | 0 | 1.7321 | 0 | 0.01 | 3.4641 | 0.0028868 |  | 1.7321 |  | 0.0028868 |  |  |  | 1e-05 | 0
| 60 V | -54 | V | - | [6 empty] | 0.1 | 1 |  |  |  |  | 0.00031 | 2 | 0.000155 | 0 | 1.7321 | 0 | 0.01 | 3.4641 | 0.0028868 |  | 1.7321 |  | 0.0028909 |  |  |  | 0.00018 | 0
| 600 V | 60 | V | - | [6 empty] | 0.1 | 1 |  |  |  |  | 0.00031 | 2 | 0.000155 | 0 | 1.7321 | 0 | 0.1 | 3.4641 | 0.028868 |  | 1.7321 |  | 0.028868 |  |  |  | 0.00018 | 0
| 600 V | 540 | V | - | [6 empty] | 0.1 | 1 |  |  |  |  | 0.0033 | 2 | 0.00165 | 0 | 1.7321 | 0 | 0.1 | 3.4641 | 0.028868 |  | 1.7321 |  | 0.028915 |  |  |  | 0.0014 | 0
| 600 V | -540 | V | - | [6 empty] | 0.1 | 1 |  |  |  |  | 0.0033 | 2 | 0.00165 | 0 | 1.7321 | 0 | 0.1 | 3.4641 | 0.028868 |  | 1.7321 |  | 0.028915 |  |  |  | 0.0014 | 0
| 1000 V | 100 | V | - | [6 empty] | 0.1 | 1 |  |  |  |  | 0.00031 | 2 | 0.000155 | 0 | 1.7321 | 0 | 1 | 3.4641 | 0.28868 |  | 1.7321 |  | 0.28868 |  |  |  | 0.00018 | 0
| 1000 V | 900 | V | - | [6 empty] | 0.1 | 1 |  |  |  |  | 0.0033 | 2 | 0.00165 | 0 | 1.7321 | 0 | 1 | 3.4641 | 0.28868 |  | 1.7321 |  | 0.28868 |  |  |  | 0.0014 | 0
| 1000 V | -900 | V | - | [6 empty] | 0.1 | 1 |  |  |  |  | 0.0033 | 2 | 0.00165 | 0 | 1.7321 | 0 | 1 | 3.4641 | 0.28868 |  | 1.7321 |  | 0.28868 |  |  |  | 0.0014 | 0

## ACV
Function | RangeLabel | Nominal | Unit | Frequency | FreqUnit | MV1 | MV2 | MV3 | Average | Error | Spec_Accuracy (%) | Spec_Digit | Tolerance | UpperLimit | LowerLimit | Remarks | U_CoC | Div_CoC | Ui_CoC | U_Annual | Div_Annual | Ui_Annual | U_Read | Div_Read | Ui_Read | U_Repeat | Div_Repeat | Ui_Repeat | Combined | Effective degrees of freedom (v_eff) | k | U_expanded | CMC_min | Final_U
| 600 mV | 60 | mV | 50 Hz | [6 empty] | 0.7 | 4 |  |  |  |  | 0.07 | 2 | 0.035 | 0 | 1.7321 | 0 | 0.1 | 3.4641 | 0.028868 |  | 1.7321 |  | 0.045369 |  |  |  | 0.01 | 0
| 600 mV | 60 | mV | 1 kHz | [6 empty] | 1 | 2 |  |  |  |  | 0.07 | 2 | 0.035 | 0 | 1.7321 | 0 | 0.1 | 3.4641 | 0.028868 |  | 1.7321 |  | 0.045369 |  |  |  | 0.01 | 0
| 600 mV | 540 | mV | 50 Hz | [6 empty] | 0.7 | 4 |  |  |  |  | 0.91 | 2 | 0.455 | 0 | 1.7321 | 0 | 0.1 | 3.4641 | 0.028868 |  | 1.7321 |  | 0.45591 |  |  |  | 0.085 | 0
| 600 mV | 540 | mV | 1 kHz | [6 empty] | 1 | 2 |  |  |  |  | 0.91 | 2 | 0.455 | 0 | 1.7321 | 0 | 0.1 | 3.4641 | 0.028868 |  | 1.7321 |  | 0.45591 |  |  |  | 0.085 | 0
| 6 V | 0.6 | V | 50 Hz | [6 empty] | 0.7 | 4 |  |  |  |  | 0.00091 | 2 | 0.000455 | 0 | 1.7321 | 0 | 0.001 | 3.4641 | 0.00028868 |  | 1.7321 |  | 0.00053885 |  |  |  | 8.5e-05 | 0
| 6 V | 0.6 | V | 1 kHz | [6 empty] | 1 | 2 |  |  |  |  | 0.00091 | 2 | 0.000455 | 0 | 1.7321 | 0 | 0.001 | 3.4641 | 0.00028868 |  | 1.7321 |  | 0.00053885 |  |  |  | 8.5e-05 | 0
| 6 V | 5.4 | V | 50 Hz | [6 empty] | 0.7 | 4 |  |  |  |  | 0.0073 | 2 | 0.00365 | 0 | 1.7321 | 0 | 0.001 | 3.4641 | 0.00028868 |  | 1.7321 |  | 0.0036614 |  |  |  | 0.00085 | 0
| 6 V | 5.4 | V | 1 kHz | [6 empty] | 1 | 2 |  |  |  |  | 0.0073 | 2 | 0.00365 | 0 | 1.7321 | 0 | 0.001 | 3.4641 | 0.00028868 |  | 1.7321 |  | 0.0036614 |  |  |  | 0.00085 | 0
| 60 V | 6 | V | 50 Hz | [6 empty] | 0.7 | 4 |  |  |  |  | 0.0073 | 2 | 0.00365 | 0 | 1.7321 | 0 | 0.01 | 3.4641 | 0.0028868 |  | 1.7321 |  | 0.0046536 |  |  |  | 0.00085 | 0
| 60 V | 6 | V | 1 kHz | [6 empty] | 1 | 2 |  |  |  |  | 0.0073 | 2 | 0.00365 | 0 | 1.7321 | 0 | 0.01 | 3.4641 | 0.0028868 |  | 1.7321 |  | 0.0046536 |  |  |  | 0.00085 | 0
| 60 V | 30 | V | 50 Hz | [6 empty] | 0.7 | 4 |  |  |  |  | 0.0073 | 2 | 0.00365 | 0 | 1.7321 | 0 | 0.01 | 3.4641 | 0.0028868 |  | 1.7321 |  | 0.0046536 |  |  |  | 0.00085 | 0
| 60 V | 30 | V | 1 kHz | [6 empty] | 1 | 2 |  |  |  |  | 0.0073 | 2 | 0.00365 | 0 | 1.7321 | 0 | 0.01 | 3.4641 | 0.0028868 |  | 1.7321 |  | 0.0046536 |  |  |  | 0.00085 | 0
| 60 V | 54 | V | 50 Hz | [6 empty] | 0.7 | 4 |  |  |  |  | 0.071 | 2 | 0.0355 | 0 | 1.7321 | 0 | 0.01 | 3.4641 | 0.0028868 |  | 1.7321 |  | 0.035617 |  |  |  | 0.0064 | 0
| 60 V | 54 | V | 1 kHz | [6 empty] | 1 | 2 |  |  |  |  | 0.071 | 2 | 0.0355 | 0 | 1.7321 | 0 | 0.01 | 3.4641 | 0.0028868 |  | 1.7321 |  | 0.035617 |  |  |  | 0.0064 | 0
| 600 V | 60 | V | 50 Hz | [6 empty] | 0.7 | 4 |  |  |  |  | 0.071 | 2 | 0.0355 | 0 | 1.7321 | 0 | 0.1 | 3.4641 | 0.028868 |  | 1.7321 |  | 0.045756 |  |  |  | 0.0064 | 0
| 600 V | 60 | V | 1 kHz | [6 empty] | 1 | 2 |  |  |  |  | 0.071 | 2 | 0.0355 | 0 | 1.7321 | 0 | 0.1 | 3.4641 | 0.028868 |  | 1.7321 |  | 0.045756 |  |  |  | 0.0064 | 0
| 600 V | 540 | V | 50 Hz | [6 empty] | 0.7 | 4 |  |  |  |  | 0.071 | 2 | 0.0355 | 0 | 1.7321 | 0 | 0.1 | 3.4641 | 0.028868 |  | 1.7321 |  | 0.045756 |  |  |  | 0.084 | 0
| 600 V | 540 | V | 1 kHz | [6 empty] | 1 | 2 |  |  |  |  | 0.071 | 2 | 0.0355 | 0 | 1.7321 | 0 | 0.1 | 3.4641 | 0.028868 |  | 1.7321 |  | 0.045756 |  |  |  | 0.084 | 0
| 1 000 V | 100 | V | 50 Hz | [6 empty] | 0.7 | 4 |  |  |  |  | 0.071 | 2 | 0.0355 | 0 | 1.7321 | 0 | 1 | 3.4641 | 0.28868 |  | 1.7321 |  | 0.29085 |  |  |  | 0.0064 | 0
| 1 000 V | 100 | V | 1 kHz | [6 empty] | 1 | 2 |  |  |  |  | 0.071 | 2 | 0.0355 | 0 | 1.7321 | 0 | 1 | 3.4641 | 0.28868 |  | 1.7321 |  | 0.29085 |  |  |  | 0.0064 | 0
| 1 000 V | 900 | V | 50 Hz | [6 empty] | 0.7 | 4 |  |  |  |  | 0.071 | 2 | 0.0355 | 0 | 1.7321 | 0 | 1 | 3.4641 | 0.28868 |  | 1.7321 |  | 0.29085 |  |  |  | 0.084 | 0
| 1 000 V | 900 | V | 1 kHz | [6 empty] | 1 | 2 |  |  |  |  | 0.071 | 2 | 0.0355 | 0 | 1.7321 | 0 | 1 | 3.4641 | 0.28868 |  | 1.7321 |  | 0.29085 |  |  |  | 0.084 | 0

## Res
Function | RangeLabel | Nominal | Unit | Frequency | FreqUnit | MV1 | MV2 | MV3 | Average | Error | Spec_Accuracy (%) | Spec_Digit | Tolerance | UpperLimit | LowerLimit | Remarks | U_CoC | Div_CoC | Ui_CoC | U_Annual | Div_Annual | Ui_Annual | U_Read | Div_Read | Ui_Read | U_Repeat | Div_Repeat | Ui_Repeat | Combined | Effective degrees of freedom (v_eff) | k | U_expanded | CMC_min | Final_U
| 600 Ω | 0 | Ω | [7 empty] | 0.2 | 2 |  |  |  |  | 7.7e-05 | 2 | 3.85e-05 | 0 | 1.7321 | 0 | 0.1 | 3.4641 | 0.028868 |  | 1.7321 |  | 0.028868 |  |  |  | 0.0078 | 0
| 600 Ω | 540 | Ω | [7 empty] | 0.2 | 2 |  |  |  |  | 0.003 | 2 | 0.0015 | 0 | 1.7321 | 0 | 0.1 | 3.4641 | 0.028868 |  | 1.7321 |  | 0.028906 |  |  |  | 0.023 | 0
| 6 kΩ | 5.4 | kΩ | [7 empty] | 0.2 | 1 |  |  |  |  | 5.5e-05 | 2 | 2.75e-05 | 0 | 1.7321 | 0 | 0.001 | 3.4641 | 0.00028868 |  | 1.7321 |  | 0.00028998 |  |  |  | 0.00023 | 0
| 60 kΩ | 54 | kΩ | [7 empty] | 0.2 | 1 |  |  |  |  | 0.00081 | 2 | 0.000405 | 0 | 1.7321 | 0 | 0.01 | 3.4641 | 0.0028868 |  | 1.7321 |  | 0.002915 |  |  |  | 0.0015 | 0
| 600 kΩ | 540 | kΩ | [7 empty] | 0.6 | 1 |  |  |  |  | 0.0066 | 2 | 0.0033 | 0 | 1.7321 | 0 | 0.1 | 3.4641 | 0.028868 |  | 1.7321 |  | 0.029056 |  |  |  | 0.016 | 0
| 6 MΩ | 5.4 | MΩ | [7 empty] | 0.6 | 1 |  |  |  |  | 0.00048 | 2 | 0.00024 | 0 | 1.7321 | 0 | 0.001 | 3.4641 | 0.00028868 |  | 1.7321 |  | 0.00037541 |  |  |  | 0.00053 | 0
| 50 MΩ | 45 | MΩ | [7 empty] | 1 | 10 |  |  |  |  | 0.0047 | 2 | 0.00235 | 0 | 1.7321 | 0 | 0.01 | 3.4641 | 0.0028868 |  | 1.7321 |  | 0.0037223 |  |  |  | 0.015 | 0

## DCC
Function | RangeLabel | Nominal | Unit | Frequency | FreqUnit | MV1 | MV2 | MV3 | Average | Error | Spec_Accuracy (%) | Spec_Digit | Tolerance | UpperLimit | LowerLimit | Remarks | U_CoC | Div_CoC | Ui_CoC | U_Annual | Div_Annual | Ui_Annual | U_Read | Div_Read | Ui_Read | U_Repeat | Div_Repeat | Ui_Repeat | Combined | Effective degrees of freedom (v_eff) | k | U_expanded | CMC_min | Final_U
| 600 µA | 540 | µA | [7 empty] | 0.2 | 4 |  |  |  |  | 0.09 | 2 | 0.045 | 0 | 1.7321 | 0 | 0.1 | 3.4641 | 0.028868 |  | 1.7321 |  | 0.053463 |  |  |  | 0.064 | 0
| 6 000 µA | 5400 | µA | [7 empty] | 0.2 | 2 |  |  |  |  | 0.38 | 2 | 0.19 | 0 | 1.7321 | 0 | 1 | 3.4641 | 0.28868 |  | 1.7321 |  | 0.34559 |  |  |  | 0.45 | 0
| 60 mA | 54 | mA | [7 empty] | 0.2 | 4 |  |  |  |  | 0.0014 | 2 | 0.0007 | 0 | 1.7321 | 0 | 0.01 | 3.4641 | 0.0028868 |  | 1.7321 |  | 0.0029704 |  |  |  | 0.0043 | 0
| 60 mA | -54 | mA | [7 empty] | 0.2 | 4 |  |  |  |  | 0.0014 | 2 | 0.0007 | 0 | 1.7321 | 0 | 0.01 | 3.4641 | 0.0028868 |  | 1.7321 |  | 0.0029704 |  |  |  | 0.0043 | 0
| 400 mA | 360 | mA | [7 empty] | 0.2 | 2 |  |  |  |  | 0.027 | 2 | 0.0135 | 0 | 1.7321 | 0 | 0.1 | 3.4641 | 0.028868 |  | 1.7321 |  | 0.031868 |  |  |  | 0.082 | 0
| 6 A | 3 | A | [7 empty] | 0.2 | 4 |  |  |  |  | 0.0014 | 2 | 0.0007 | 0 | 1.7321 | 0 | 0.001 | 3.4641 | 0.00028868 |  | 1.7321 |  | 0.00075719 |  |  |  | 0.0016 | 0
| 6 A | 5.4 | A | [7 empty] | 0.2 | 4 |  |  |  |  | 0.0014 | 2 | 0.0007 | 0 | 1.7321 | 0 | 0.001 | 3.4641 | 0.00028868 |  | 1.7321 |  | 0.00075719 |  |  |  | 0.0016 | 0
| 10 A | 5 | A | [7 empty] | 0.2 | 2 |  |  |  |  | 0.0014 | 2 | 0.0007 | 0 | 1.7321 | 0 | 0.01 | 3.4641 | 0.0028868 |  | 1.7321 |  | 0.0029704 |  |  |  | 0.0016 | 0
| 10 A | 9 | A | [7 empty] | 0.2 | 2 |  |  |  |  | 0.0014 | 2 | 0.0007 | 0 | 1.7321 | 0 | 0.01 | 3.4641 | 0.0028868 |  | 1.7321 |  | 0.0029704 |  |  |  | 0.0016 | 0

## ACC
Function | RangeLabel | Nominal | Unit | Frequency | FreqUnit | MV1 | MV2 | MV3 | Average | Error | Spec_Accuracy (%) | Spec_Digit | Tolerance | UpperLimit | LowerLimit | Remarks | U_CoC | Div_CoC | Ui_CoC | U_Annual | Div_Annual | Ui_Annual | U_Read | Div_Read | Ui_Read | U_Repeat | Div_Repeat | Ui_Repeat | Combined | Effective degrees of freedom (v_eff) | k | U_expanded | CMC_min | Final_U
| 600 µA | 540 | µA | 50 Hz | [6 empty] | 1 | 2 |  |  |  |  | 1.7 | 2 | 0.85 | 0 | 1.7321 | 0 | 0.1 | 3.4641 | 0.028868 |  | 1.7321 |  | 0.85049 |  |  |  | 0.00037 | 0
| 600 µA | 540 | µA | 1 kHz | [6 empty] | 1 | 2 |  |  |  |  | 1.7 | 2 | 0.85 | 0 | 1.7321 | 0 | 0.1 | 3.4641 | 0.028868 |  | 1.7321 |  | 0.85049 |  |  |  | 0.00037 | 0
| 6 000 µA | 5400 | µA | 50 Hz | [6 empty] | 1 | 2 |  |  |  |  | 13 | 2 | 6.5 | 0 | 1.7321 | 0 | 1 | 3.4641 | 0.28868 |  | 1.7321 |  | 6.5064 |  |  |  | 2.6 | 0
| 6 000 µA | 5400 | µA | 1 kHz | [6 empty] | 1 | 2 |  |  |  |  | 13 | 2 | 6.5 | 0 | 1.7321 | 0 | 1 | 3.4641 | 0.28868 |  | 1.7321 |  | 6.5064 |  |  |  | 2.6 | 0
| 60 mA | 54 | mA | 50 Hz | [6 empty] | 1 | 2 |  |  |  |  | 0.22 | 2 | 0.11 | 0 | 1.7321 | 0 | 0.01 | 3.4641 | 0.0028868 |  | 1.7321 |  | 0.11004 |  |  |  | 0.026 | 0
| 60 mA | 54 | mA | 1 kHz | [6 empty] | 1 | 2 |  |  |  |  | 0.22 | 2 | 0.11 | 0 | 1.7321 | 0 | 0.01 | 3.4641 | 0.0028868 |  | 1.7321 |  | 0.11004 |  |  |  | 0.026 | 0
| 400 mA | 360 | mA | 50 Hz | [6 empty] | 1 | 2 |  |  |  |  | 0.72 | 2 | 0.36 | 0 | 1.7321 | 0 | 0.1 | 3.4641 | 0.028868 |  | 1.7321 |  | 0.36116 |  |  |  | 0.21 | 0
| 400 mA | 360 | mA | 1 kHz | [6 empty] | 1 | 2 |  |  |  |  | 0.72 | 2 | 0.36 | 0 | 1.7321 | 0 | 0.1 | 3.4641 | 0.028868 |  | 1.7321 |  | 0.36116 |  |  |  | 0.21 | 0
| 6 A | 5.4 | A | 50 Hz | [6 empty] | 1 | 2 |  |  |  |  | 0.01 | 2 | 0.005 | 0 | 1.7321 | 0 | 0.001 | 3.4641 | 0.00028868 |  | 1.7321 |  | 0.0050083 |  |  |  | 0.0029 | 0
| 6 A | 5.4 | A | 1 kHz | [6 empty] | 1 | 2 |  |  |  |  | 0.011 | 2 | 0.0055 | 0 | 1.7321 | 0 | 0.001 | 3.4641 | 0.00028868 |  | 1.7321 |  | 0.0055076 |  |  |  | 0.0039 | 0
| 10 A | 9 | A | 50 Hz | [6 empty] | 1 | 2 |  |  |  |  | 0.01 | 2 | 0.005 | 0 | 1.7321 | 0 | 0.01 | 3.4641 | 0.0028868 |  | 1.7321 |  | 0.0057735 |  |  |  | 0.0029 | 0
| 10 A | 9 | A | 1 kHz | [6 empty] | 1 | 2 |  |  |  |  | 0.011 | 2 | 0.0055 | 0 | 1.7321 | 0 | 0.01 | 3.4641 | 0.0028868 |  | 1.7321 |  | 0.0062115 |  |  |  | 0.0039 | 0